# DIOCESE OF BUFFALO									Parish:

# DISABILITIES ACTION TEAM								City:

Building:

# HOW ACCESSIIBLE ARE OUR BUILDINGS?

The following survey can be taken at your parish to determine how readily a person with a physical disability could participate in activities within your community.  Only new buildings or newly renovated buildings will be totally accessible.  As you evaluate your building's accessibility, you can set goals for making increasing the accessibility.   These are important steps in demonstrating that your parish cares about and includes all people.

# PARKING SPACES

Yes      No		1.   Are there accessible parking spaces close to the building?

Yes      No		2.   Is there an adequate number of parking spaces to accommodate those in

need?

Yes      No		3.   Are the spaces clearly marked by the International Wheelchair emblem?

Yes      No		4.   Are the parking spaces 12 1/( feet wide?

Yes      No		5.   Is the area from the parking space paved?

Yes      No	     6.   Is there a curb-cut from the parking spaces to the walkway?

Yes      No		7.   Is it possible to get from a parked car to the inside of the building without

going up or down a step or steps?

# ENTRANCES AND EXITS

Yes	No 		1. Is at least one primary entrance usable by individuals in wheelchairs?

# WALKWAYS

Yes      No		1.    Are walkways at least 48 inches wide?

Yes      No		2.    Is the slope of walkways 5 percent or less?

Yes      No		3.    Are walkways continuing common surfaces, uninterrupted by steps?

Yes      No		4.    Do walkways have level 5 by 5 foot platforms at the doors that extend at

least one foot beyond each side of the doors?

# RAMPS

Yes      No		1.    Do ramps have a slope no greater than a 1 foot rise in 12 feet and a width of

at least 36 inches?

Yes      No		2.    Do ramps have handrails on both sides, 32 inches above the surface?

Yes      No		3.    Do handrails extend one foot beyond the tops and bottoms of the ramps?

Yes      No		4.    Do ramps have non-slip surfaces?

Yes      No		5.    Do ramps have level platforms in front of doors that allow at least 5 feet of

straight clearance?

Where is the ramp located? _________________

# DOORS

Yes      No		1.    Do doors have clear openings of 32 inches or more?

Yes      No		2.    Are doors operable with pressure  (5-8lbs. or less) that could be reasonably

expected from a disabled or frail person?

Yes      No		3.    Do doors with latch hardware have levers or other easy-grip handles?

Yes      No		4.    Is the maximum threshold for doorsills no more than ( inch for interior doors

and 3/4 inch for exterior doors?

Yes      No                    5.    Is there a switch plate that opens the door?

Which door is this at?_________________

# REST ROOMS

Yes      No		1.    Is there at least one accessible rest room on each floor?

Yes      No		2.    Does the entry door have at least a 32 inch clear opening?

Yes      No		3.    Do rest rooms have 5 by 5 foot turning space?

Yes      No		4.    Is there at least one stall that is 36 inches wide with 48 inch clear depth from

door closing to the front of the commode?

Yes      No		5.    Does the stall have a 32 inch wide door that swings out?

Yes      No		6.    Does the stall have grab bars on each side?

Yes      No		7.    Is there a wall-mounted sink with 29 inch clearance from the floor to the

bottom of the sink?

Yes      No		8.    Are drainpipes and hot water pipes covered or insulated?

Yes      No		9.    Are faucet controls easy to operate?

Yes      No		10.  Are towel dispensers mounted no higher than 40 inches from the floor?

# MULTI-STORY BUILDINGS

Yes      No		1.    Is there an elevator to all levels of the building?

Yes      No		2.    Does the elevator door opening have a width of at least 36 inches?

Yes      No		3.    Is the elevator cab at least 54 inches by 68 inches?

Yes      No		4.    Are elevator controls 54 inches or less from the floor?

Yes      No		5.    Do stairs have handrails on both sides?

# WATER FOUNTAINS

Yes      No		1.    Is at least one fountain on each floor accessible to people in wheelchairs?

Yes      No		2.    Is the fountain basin no higher than 30 - 36 inches from the floor?

Yes      No		3.    Are fountains operated easily by hand?

# CHURCH

Yes     No		1. Are there at least two seating spaces provided for wheelchair users?

Pews can be shortened by 36 inches to provide wheelchair space.

Yes     No		2. Is there wheelchair access to the choir?

Yes     No		3. Is hearing amplification provided?

What kind? _________________________

How is it communicated that it is available?  __________________

Yes    No		4. Are large print missals and song books provided?

Yes    No		5. Are bulletins designed with easy to read print?

Yes    No		6. Are large print bulletins available?

How is this communicated? ___________________

Yes    No		7. Is a sign language interpreter available if needed?

# What Next?

1.   Involve people with disabilities in accessing the buildings

- Share the results with your pastor and parish council

- Evaluate the results

- Set goals and work  to accomplish them.

- Contact the Diocesan Buildings and Properties for advice about renovations.

- Publicize and celebrate each goal accomplished.

- Utilize the Access Blessing at www.ncpd.org, select Ministries/program, then select spirituality,  then select prayers and blessings. Scroll to the Blessing.

- Publicize your accessibility to the community.  Place the International Wheelchair emblem in your newspaper,

Yellow page ad, in brochures and on your parish sign.

- Forward this completed survey to  Sharon Urbaniak, Department of Lifelong Faith Formation, 795 Main Street, Buffalo, NY 14203  or fax to 847-5593 Attn: Sharon for publication on diocesan website

www.buffalodiocese.org/disabilities

6/2010 SU